## Required Activities
Assessor / Candidate Checklist Legal Metrology Portfolio (May 2015) Required Activities (Have you done everyting required to complete the portfolio?)
In completing the portfolio the following is the minimum for which you will need to provide evidence in order to demonstrate competency in the skills relating to Legal Metrology. The evidence provided should be as far as possible part of the day to day work of the Service or Organisation, you should carry out as many activities as deemed necessary by your Service /Organisation and Assessors and Verifiers to ensure that you can demonstrate the required skills and competencies in your normal area of work.
The standards assessed should cover a range of mass, length and volume and a cross section of the different accuracy levels and nominal values of standards used in legal metrology.
You must be able to demonstrate an ability to use all metrology equipment and methods of test and interpret the results.
You should examine and test a range of equipment that utilises different technologies, and different levels of accuracy and those which require specific approaches, in a variety of commercial environments and uses.
| Yes | No
You should examine and test a total of 25 different pieces of equipment across the following categories:
Weighing equipment including electronic comparator.
Automatic weighing
Metering systems for a variety of commodities
Length and dimensional measurements
Capacity and volume
Mass
This is the minimum number of pieces of equipment which needs to be tested. It is up to the Authority. Verifiers and assessors to ensure you are sufficiently competent.
See table in Appendix A for guidance on the equipment to be examined and tested
You should undertake a minimum of 15 tests from a selection of goods packed under the average and minimum quantity systems, including those weighed on demand, and should also include non pre-packed goods sold by weight, volume and/or length.
In examining and testing goods you will need to cover
block product,
particle product,
aerosols,
fruit and vegetables,
frozen product,
desiccating product,
bread,
drained net weight and
a large volume product (e.g soil, gravel etc).

## Appendix A
Legal Metrology Portfolio Version 4 (May 2015) Appendix A - Equipment Guidance
Candidate Name: | Obligatory |  | At least 1 from: |  |  | Optional
1. Non Automatic Weighing Equipment |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
Non self- indicating counter machine | At least 1 from this block
Non self-indicating deadweight machines
Mechanical self-indicating
Light/ heavy or trade comparator
Self-indicating NAWI under 30kg
Self-indicating NAWI (medical Weighing)
Self-indicating NAWI under 30kg with EPOS
Self-indicating NAWI over 1,000kg
Weighpads
Self-indicating NAWI over 20,000kg
Counting machine
Multirange NAWI | At least 1 from this block
Multiinterval NAWI
Class I NAWI
Class II NAWI | At least 1 from this block
Equal-armed beam scale
TSS Balance of precision
Comparator
2. Automatic Weighing Equipment |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
Automatic checkweighers
Catchweighers
Automatic Gravimetric Filling machines | At least 1 from this block
Automatic filling machine
Discontiuous totalisers | At least 1 from this block
Dynanic axle weighers
Automatic Rail weighers
On board weighers
Belt weighers
3. Metering systems for a variety of commodities |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
Bulk fuel Meter system
Beer Measuring Instrument
LFMI with EPOS
LFMI with Cruciform Meter | At least 1 from this block
LFMI with STA
LFMI with electronic calibration
Water Meter
4. Dimensional and length measuring Instruments |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
Standard One metre rigid length measure
Standard Tape (any trade or working standard)
Material Measures of length
2D or 3D dimensional test machine
Measuring wheels
5. Volume |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
Intoxicating liquor SMI
MCB
Graduated Cylinder
Thimbles | At least 1 from this block
Capacity Serving measures
Cubic Ballast measures
LPG Coriolis Meter
Tyre pressure gauge
Working Standard using pipette | At least 1 from this block
Working Standard by gravimetric test
6. Weights |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
Trader's Weight
Medium accuracy weights UKAS F2
Test weights | At least 1 from this block
Working standards weights
7. Taximeters |  | Planned date | Own Authority | Other Authority | Date of test | Date signed off
note: There is no need to test/verify
8. Others User defined

## Task A
Assessor / Candidate Checklist Legal Metrology Portfolio (May 2015) Task A Identification and assessment of local and working standards and testing equipment (What activities will prove this?)
The suggested way of doing this will be for you to participate in the assessment and validation of a variety of standards used in the delivery of metrological services and demonstrate an understanding of how such standards integrate into the infrastructure of legal metrology in the UK.
Performance Criteria |  | Activity & Evidence
A1 | That you were able to identify the standard and at what 'level' it sits in the hierarchy the appropriate legislation and all of the relevant codes of practice, standards and procedures applicable.
A2 | That you exhibited sound practical application of the skills necessary to assess the standard in question in terms of legislation and standards.
A3 | That took account of the influence factors that could affect the results of assessments.
A4 | That you used and stored the standards appropriately and assessed at the appropriate frequency.
A5 | That you performed testing to the required standard.
A6 | That you were able to take any required rectification work following the assessment.
Identified Evidence & Comments What other tasks can this evidence be used in?

## Task B
Assessor / Candidate Checklist Legal Metrology Portfolio (May 2015) Task B Identification and assessment of metrological equipment (What activities will prove this?)
The suggested way of doing this will be for you to examine a wide variety of equipment in use for trade, identifying the legal and practical controls on the equipment, evaluating and testing the equipment, and taking appropriate action regarding the results.
Performance Criteria |  | Activity & Evidence
B1 | That you identified the equipment and its use correctly and applied all relevant legislation, standards and codes of practice.
B2 | That used the correct tools and equipment to carry out any assessment.
B3 | That you recorded the results of your examinations in an appropriate manner
B4 | That you recognized and took the appropriate action arising from the results of your examination and testing and showed that you understood the impact of your decisions.
B5 | That you understood and took account of the factors, such as environmental issues, that influence the risk of equipment failure, and thus, re-inspection periods.
Identified Evidence & Comments What other tasks can this evidence be used in?

## Task C
Assessor / Candidate Checklist Legal Metrology Portfolio (May 2015) Task C Identification and testing of goods sold by reference to quantity (What activities will prove this?)
The suggested way of doing this will be for the candidate to examine and test a wide variety of goods that have been marked with an indication of quantity or purport to be a particular quantity for compliance with weights and measures legislation.
Performance Criteria |  | Activity & Evidence
C1 | That you were able to identify whether goods were packed to the average or minimum quantity system.
C2 | That you identified all relevant standards, guides and sources of advice relevant to the goods under test.
C3 | That you correctly identified the necessary equipment to undertake tests and demonstrate competent usage of it.
C4 | That you performed appropriate testing on the goods to determine compliance.
C5 | That you identified and took account of all of the factors which might affect the weight of the product and cause it to be non-compliant.
C6 | That you took the appropriate action with regard to non-complaint product.
Identified Evidence & Comments What other tasks can this evidence be used in?